## Blad1
Inhouse heat installation
Heat Installations household | Type | Fixed OPEX | Unit (Fixed OPEX) | Variable OPEX (EUR/kW/y | CAPEX (EUR/kW) | Unit | Lifetime | Source
Heat pump | Air-water | 10 | EUR/kW/y | 0 | 909.8 | EUR/kW | 15 | ETM
Heat pump | Ground-water | 10 | EUR/kW/y | 0 | 1390.4 | EUR/kW | 15 | ETM
Heat pump | Hybrid | 40.8163 | EUR/kW/y | 0 | 779.3878 | EUR/kW | 15 | ETM
Gas boiler | Decentral | 4.4545 | EUR/kW/y | 0 | 97.0223 | EUR/kW | 15 | ETM
Green gas boiler | Decentral | 4.4545 | EUR/kW/y | 0 | 97.0223 | EUR/kW | 15 | Based on normal gas boiler due to lack of data
HT-radiator |  |  |  |  | 8 | EUR/m2 |  | CE Delft - Vesta 3.0
LT-radiator |  |  |  |  | 15 | EUR/m2 |  | CE Delft - Vesta 3.0
Underfloor heating |  |  |  |  | 71 | EUR/m2 |  | CE Delft - Vesta 3.0
District heating connection
Component | Aansluitkosten | Unit | Eenmalige aansluitbijdragen | Unit | Onderhoudskosten (€/aansluiting/jaar) | Periodiek nettarief (€/aansluiting/jaar) | Source
Warmteaansluiting grondgebonden | 12000 | €/aansluiting | 836.14 | €/aansluiting | 360 | 267.92 | CE Delft (2018) - based on ACM
Warmteaansluiting gestapeld | 10000 | €/aansluiting | 836.14 | €/aansluiting | 360 | 267.92 | CE Delft (2018) - based on ACM
Warmteaansluiting collectief | 4000 | €/aansluiting | 836.14 | €/aansluiting | 360 | 267.92 | CE Delft (2018) - based on ACM
Warmtenet | 270 | €/m |  |  |  |  | CE Delft (2018) - based on ACM
District heating cable lengths
Neighborhood | Urbanisation | Gasnet (m/connection) | Electricitynet (m/connection) | Source
Oude dorpskern | 3-4 | 39 | 44 | CE Delft (2018)
Historische binnenstad | 1 | 12 | 13 | CE Delft (2018)
Buitengebied | 5 | 61 | 107 | CE Delft (2018)
Jonge binnenstad | 1 | 14 | 15 | CE Delft (2018)
Gemiddeld | 2-3-4 | 22 | 26 | CE Delft (2018)
Insulation cost
Woningtype | Isolatiesprong | 2015 (EUR) | 2020 (EUR) | 2030 (EUR) | 2050 (EUR) | Source
Tussenwoning | Laag -> Midden | 800 | 7200 | 6500 | 5400 | Ecofys (2015)
Tussenwoning | Laag -> Hoog | 30000 | 20000 | 18000 | 15000 | Ecofys (2015)
Tussenwoning | Midden -> Hoog | 24000 | 16000 | 14400 | 12000 | Ecofys (2015)
Hoekwoning | Laag -> Midden | 9500 | 8500 | 7700 | 6500 | Ecofys (2015)
Hoekwoning | Laag -> Hoog | 40000 | 26000 | 24000 | 20000 | Ecofys (2015)
Hoekwoning | Midden -> Hoog | 32000 | 20800 | 19200 | 16000 | Ecofys (2015)
Flat | Laag -> Midden | 6500 | 5800 | 5200 | 4400 | Ecofys (2015)
Flat | Laag -> Hoog | 22000 | 15000 | 13500 | 9500 | Ecofys (2015)
Flat | Midden -> Hoog | 17600 | 12000 | 10800 | 9600 | Ecofys (2015)
Twee-onder-een-kapwoning | Laag -> Midden | 11500 | 10300 | 9300 | 7800 | Ecofys (2015)
Twee-onder-een-kapwoning | Laag -> Hoog | 40000 | 31000 | 28000 | 24000 | Ecofys (2015)
Twee-onder-een-kapwoning | Midden -> Hoog | 32000 | 24800 | 22400 | 19200 | Ecofys (2015)
Vrijstaande woning | Laag -> Midden | 16000 | 14200 | 13000 | 11000 | Ecofys (2015)
Vrijstaande woning | Laag -> Hoog | 66000 | 44000 | 40000 | 34000 | Ecofys (2015)
Vrijstaande woning | Midden -> Hoog | 52800 | 35200 | 32000 | 27200 | Ecofys (2015)
Energy saving insulation
Housing type | Low | Medium | High | Source
Flat | 0 | 0.32 | 0.67 | Ecofys (2015) - ECN profiles
Hoekwoning | 0 | 0.23 | 0.69 | Ecofys (2015) - ECN profiles
Vrijstaande woning | 0 | 0.23 | 0.67 | Ecofys (2015) - ECN profiles
Twee-onder-een-kapwoning | 0 | 0.26 | 0.69 | Ecofys (2015) - ECN profiles
Tussenwoning | 0 | 0.31 | 0.69 | Ecofys (2015) - ECN profiles